NON-SUBMISSION DRAFT MIRROR — Do not upload. Submission File 1 is Response_to_Reviewers.docx / .md (same body; this file is a working mirror only).

# Point-by-Point Response to Reviewers

Journal: Graefe’s Archive for Clinical and Experimental Ophthalmology
Submission ID: d8450736-638d-47c9-991d-90d98396c381
Manuscript title: Novel Semi-Automated System for Multi-Dimensional Analysis of Macular Neovascularization: Quantitative Biomarkers and Rule-Based Morphological Categorization Across OCTA Platforms
Corresponding author: Yasuo Yanagi, M.D., Ph.D. (yanagi.yas.wu@yokohama-cu.ac.jp)

Dear Editor and Reviewers,

We thank the Editor and Reviewers for their careful evaluation of our manuscript and for the constructive comments. We have revised the manuscript accordingly. Below we provide a point-by-point response. Reviewer comments are reproduced in italics; our responses follow. Page/line numbers refer to the marked revised manuscript unless otherwise stated.

## Response to the Editor

### Editor comment 1 — Key Message

Please note: The key messages should be placed on the Title Page. Please prepare as bullet points and ensure they are concise. Two–Four key messages are required, please place the heading “what is known” and note 1–2 key messages, then please note the heading “What is new” and place 2–3 key messages highlighting the new information in the paper.

Response:
We have added a Key Messages box on the Title Page, structured as requested.

What is known - Quantitative OCTA analysis of macular neovascularization (MNV) is limited by device- and field-of-view–dependent scaling of raw topological metrics, hindering cross-platform comparison. - Qualitative MNV pattern labels (e.g., Medusa, Seafan, Dead tree) remain inconsistently defined and are rarely linked to reproducible quantitative thresholds.

What is new - We present a semi-automated pipeline (hybrid vessel enhancement, adaptive binarization, skeleton-based topology) that generates stratum-specific standardized Vascular Complexity and Caliber Uniformity scores (0–100) for cross-device reporting. - We provide operational, rule-based morphological categories with disclosed decision thresholds and report agreement with masked expert grading. - Morphology-derived interpretive categories are proposed as hypothesis-generating labels; clinical outcome validation was outside the scope of this anonymized, treatment-naïve cohort.

### Editor comment 2 — Accurate reporting, conclusions, and limitations

Please ensure the results are accurately reported, any overstated conclusions are rewritten and the limitations of the work fully explained.

Response:
We agree. Throughout the Abstract, Results, Discussion, and Conclusion we have: 1. Clarified that median score proximity to 50 after median-anchored normalization is a mathematical consequence of the scaling procedure, not evidence of biological equivalence across devices (see Reviewer 2, Comment 1). The Abstract still reports medians near 50 and non-significant Kruskal–Wallis tests under the standardized reporting framework; Discussion and Limitations state explicitly that this does not establish cross-device biological equivalence. 2. Replaced “pathophysiological classification” with morphology-derived interpretive categories and reframed clinical utility as requiring future outcome-linked studies (see Reviewer 2, Comment 3); Tables 4–5 rewritten accordingly. 3. Expanded the Limitations section to address circularity of median-anchored normalization, absence of longitudinal clinical anchors, anonymized cohort without detailed baseline demographics, reproducibility scope (multi-rater inter-observer primary, with same-operator intra-observer test–retest as a supplement; see Reviewer 2, Comment 4), and the need for multi-center external validation. 4. Restored and notation-revised Tables 1–5. Tables are provided as a separate Word file (MNV_Analysis_YY_rev1_tables.docx); the manuscript body cites Tables 1–5 in text only. Figure legends for Figures 1–3 are in a separate file (MNV_Analysis_YY_rev1_figure_legends.docx). Table 1 uses columns Variable | Description | Inter-rater ICC(2,1) | Intra-rater ICC(2,1), with κ in the corresponding columns for morphological subtypes (see Reviewer 2, Comment 4).

## Response to Reviewer 1

We thank Reviewer 1 for the positive assessment and the focused methodological request.

### Comment #1 — Schematic workflow figure and rationale for Phansalkar binarization

The authors should provide a schematic figure illustrating the image-processing workflow used in this study, including vessel enhancement (e.g., edge detection using Frangi and/or Laplacian filters), binarization of the OCTA images using the Phansalkar method, and skeletonization. Such a figure would greatly improve the clarity and reproducibility of the methodology.

In addition, the rationale for using the Phansalkar method for binarization should be clarified. Phansalkar thresholding is commonly applied in choriocapillaris analysis; however, in vascular imaging of the SCP, DCP, or avascular slab, Otsu thresholding is more commonly used. While I agree that the Frangi filter is appropriate and effective for vessel enhancement, the choice of binarization method requires further justification.

Response:
We thank the Reviewer for these suggestions.

- New schematic figure. We have added a new figure (Figure 2 in the revised manuscript) illustrating the end-to-end processing workflow: freehand ROI → iterative ROI refinement → hybrid multiscale vessel enhancement (Frangi/tubeness + Laplacian of Gaussian) → Phansalkar adaptive binarization → morphological refinement → skeletonization → boundary-branch exclusion → quantitative metrics and standardized scores. The original multi-device segmentation examples remain as Figure 1.

- Rationale for Phansalkar rather than global Otsu. We have expanded the Methods (Binarization subsection). After Frangi/LoG enhancement, MNV vessel maps retain spatially heterogeneous background intensity arising from projection artifacts, signal attenuation, and lesion-internal contrast variation. Global Otsu thresholding assumes a bimodal intensity histogram with a single global cut-point and therefore tends to erode fine peripheral capillaries or, conversely, to include background speckles when lesion and background overlap. Phansalkar adaptive local thresholding estimates a local mean/SD-based threshold within a resolution-calibrated window (approximately 24 µm local radius; k = 0.1, R = 0), preserving locally contrasted fine vessels while suppressing regional background drift. Although Phansalkar thresholding is widely recognized in choriocapillaris flow-deficit analysis, the same property—robustness to local intensity non-uniformity—is advantageous for enhanced MNV vessel maps on the outer-retina/avascular complex slab. Methods note that the analytical framework was initially implemented as an ImageJ macro and later in Python; our Phansalkar parameters follow the ImageJ Auto Local Threshold (Phansalkar) convention used in the original macro. The Abstract and Conclusion describe the submitted system as Python-based. We now explicitly acknowledge that Otsu remains common for relatively homogeneous SCP/DCP en-face slabs and state why we preferred a local adaptive method for this MNV application.

Changes made: - New Figure 2 (workflow schematic) with legend. - Expanded Methods justification for Phansalkar vs Otsu, including operational parameters (≈24 µm; k = 0.1, R = 0). - Minor cross-references updated in Results.

## Response to Reviewer 2

We thank Reviewer 2 for the rigorous methodological critique. We have undertaken additional analyses where feasible and have tempered the conclusions accordingly.

### Comment 1 — Circularity of cross-device score “convergence”

The demonstration of cross-device score convergence (Table 3) is circular. The piecewise-linear normalization maps each stratum’s median to 50 by design, so observing medians near 50 after normalization is a mathematical certainty rather than evidence of biological equivalence.

Response:
We agree. Mapping each stratum’s median to 50 is by construction; therefore median values near 50 after normalization cannot be interpreted as empirical proof of biological equivalence across devices. Under the Standardized Caliber Uniformity Score, between-stratum Kruskal–Wallis tests for Complexity, Caliber, and Maturity are non-significant (ε² ≈ 0; see Comment 5)—but that pattern still does not establish biological equivalence, because median-anchored transforms and locked cuts can attenuate stratum-mean contrasts by design. In all cases, medians near 50 are a mathematical consequence of the transform and do not imply that scores are biologically comparable across devices/FOV strata.

Changes made: - Results and Discussion/Limitations now state that piecewise-linear normalization is a within-stratum scaling procedure intended to place scores on a common 0–100 reporting scale for rule-based classification thresholds, not a demonstration of cross-device biological equivalence. The Abstract reports standardized scores on that common reporting scale (medians near 50) together with non-significant between-stratum Kruskal–Wallis tests; the non-equivalence caveat is stated explicitly in the Discussion and Limitations rather than as Abstract-only claim language. - We no longer describe median≈50 as “empirical evidence” that device-dependent scaling was removed while “preserving biological information,” and we no longer claim that standardized scores are statistically indistinguishable or biologically equivalent across strata. - Table 3 rewritten: primary endpoint is the Standardized Caliber Uniformity Score with Kruskal–Wallis H/p plus ε² and bootstrap 95% CIs. Original PCA-based Caliber Uniformity Table 3 medians/p-values are no longer the primary table content (PCA Caliber Uniformity remains a non-primary legacy definition mentioned only in Methods context). - Retained and clarified the non-circular elements that remain informative: (i) large between-device differences in raw metrics (Table 2); (ii) consistency of Complexity PCA structure (PC1 loadings and explained variance) across strata; (iii) within-stratum score distributions by morphological category after expert comparison. - Title/aim language adjusted from “device-independent quantification” toward “stratum-standardized scoring for cross-device reporting.”

### Comment 2 — Lack of accuracy assessment for automated morphological classification

The automated morphological classification is presented without any accuracy assessment. Table 4 reports subtype distributions but no comparison against masked expert grading. Agreement statistics (e.g., weighted kappa) and full disclosure of decision thresholds are necessary for a methods paper claiming automated classification.

Response:
We agree that an agreement assessment against masked expert grading, with disclosed decision thresholds, is appropriate. In the revised manuscript we report a masked expert–automated agreement assessment (not framed as definitive “validation”) as follows.

- A retinal specialist (Y.Y.) performed masked morphological grading on a stratified subset of study OCTA images (n = 54), without access to automated subtype labels at the time of grading.

- Expert grades were compared with rule-based automated labels. Overall agreement was 57.4% (31/54); quadratic weighted Cohen’s κ was 0.507 (95% CI 0.222–0.714; ordinal order Dead tree → Tree in bud → Glomerular → Seafan → Medusa). The confusion matrix is provided in Supplementary Material.

- Decision thresholds (percentile cut-points and trunk-pattern rules for Dead tree, Tree in bud, Glomerular, Seafan, and Medusa) are disclosed in Methods and/or Supplementary Table S1.

We interpret this modest-to-moderate κ as partly reflecting limitations of subjective categorical OCTA morphological grading, rather than as solely indicating algorithmic failure. Qualitative pattern labels remain partly descriptive and ambiguous in the OCTA literature (Tew et al., Clin Experiment Ophthalmol 2020; already cited). Related work similarly indicates that qualitative assessments can be less reliable across raters than quantitative OCTA metrics (Shah et al., Transl Vis Sci Technol 2023), and categorical MNV typing between fluorescein angiography– and OCT-based systems shows only moderate agreement (Deák et al., Sci Rep 2025). Quantitative OCTA biomarkers have accordingly been developed to objectify aspects of neovascular morphology and activity (Gan et al., Transl Vis Sci Technol 2026; Hsu et al., Sci Rep 2021).

Against this background, our rule-based quantitative operationalization—with disclosed thresholds and scores—is intended to reduce rater-dependent ambiguity relative to purely descriptive human grading. We report agreement, disclose thresholds, and claim only that quantitative operational definitions improve transparency and reproducibility relative to purely descriptive labels; we do not claim that the algorithm replaces expert judgment.

Caveats (stated explicitly): (a) the comparison contrasts full-image visual expert grades with ROI-metric–derived rule classes, so perfect concordance is not expected; (b) this analysis is expert–algorithm agreement, not multi-human inter-grader κ (a separate three-observer ICC for ROI-dependent score reproducibility is reported in Comment 4; n=46); (c) for the small-FOV stratum, some automated subtypes were score-rederived from disclosed classifier rules when subtype labels were not present in the analysis export.

Optional sensitivity: when Glomerular and Seafan were merged into a single category on both expert and automated labels (4-class analysis), overall agreement rose to 75.9% (41/54) and quadratic weighted κ to 0.682 (95% CI 0.400–0.852), suggesting that a substantial fraction of discordance reflects adjacent descriptive subtypes that are difficult to separate visually.

We have also replaced wording such as “validated automated classification” with “rule-based morphological categorization with agreement against masked expert grading.”

Changes made: - Table 4 restored with complete Medusa/Seafan splits; expert–automated κ and Supplementary confusion matrix added in Results. - Decision thresholds disclosed in Methods / Supplementary Table S1.

Selected references (Comment 2): - Tew TB et al. Comparison of different morphologies of choroidal neovascularization evaluated by ocular coherence tomography angiography in age-related macular degeneration. Clin Experiment Ophthalmol. 2020;48:927–937. - Shah PN et al. Inter-rater reliability of proliferative diabetic retinopathy assessment on wide-field OCT-angiography and fluorescein angiography. Transl Vis Sci Technol. 2023;12(7):13. - Deák GG et al. Comparison of optical coherence tomography vs. fluorescein angiography-based macular neovascularization classifications in age-related macular degeneration. Sci Rep. 2025;15:87576 (doi:10.1038/s41598-025-87576-6). - Gan Y et al. Novel quantitative OCTA biomarkers of choroidal neovascularization and associations with disease activity and etiology. Transl Vis Sci Technol. 2026;15(3):10. - Hsu CR et al. Combined quantitative and qualitative optical coherence tomography angiography biomarkers for predicting active neovascular age-related macular degeneration. Sci Rep. 2021;11:18068.

### Comment 3 — Pathophysiological labels not anchored to clinical data

The mapping of morphological patterns to pathophysiological states is not anchored to clinical data. No fluid status, treatment response, or longitudinal outcome data are presented to confirm these labels reflect actual disease behavior. Without such evidence, these should be described as morphology-derived categories rather than pathophysiological classifications.

Response:
We agree. This anonymized, cross-sectional, treatment-naïve dataset does not contain fluid status, treatment response, or longitudinal outcomes; such data cannot be added for this revision.

Changes made: - Replaced “pathophysiological classification/states” with “morphology-derived interpretive categories” (Active-pattern, Mature-quiescent-pattern, Transitional-pattern, Arteriolarized-pattern) in the title, Methods, Results, Tables 4–5, Discussion, and Conclusion. The Abstract presents these as morphology-derived interpretive labels/pattern states rather than clinically validated pathophysiological classes. - Table 4: removed the original “Pathophysiological State” column; subtype counts/percentages restored. - Table 5: retitled/rewritten as a morphology-derived interpretive mapping (Primary/Secondary interpretive category columns); no pathophysiological-state wording. - Explicitly state that these labels are hypothesis-generating, based on quantitative morphology and published morphological criteria, and are not clinically validated disease-behavior classes. - Discussion now frames these categories as a framework for future outcome-linked studies aimed at clarifying any role in clinical decision-making and prognostic stratification; Abstract Conclusion and Conclusion state that future outcome-linked and multi-center evaluations are required to establish clinical utility.

### Comment 4 — Missing inter- and intra-observer reproducibility

Inter- and intra-observer reproducibility of the semi-automated pipeline is not reported. Since the system depends on manual ROI delineation, operator variability may substantially affect downstream scores.

Response: We agree that ROI-dependent variability should be quantified. For this revision we assessed inter-observer reproducibility with three independent operators who each performed freehand ROI delineation on the same set of lesions (n = 46 complete cases matched across all three observers), with subsequent fully automated processing unchanged. We report multi-rater ICCs (two-way random-effects, absolute agreement, single measures — ICC(2,1); Shrout & Fleiss; McGraw & Wong) for lesion area and for Standardized Vascular Complexity Score, the Standardized Caliber Uniformity Score, and Maturity Index recomputed from that Caliber score, with pairwise ICCs and a multilevel variance-component ICC as complementary summaries. Interpretive bands follow published guidance (poor <0.50; moderate 0.50–0.75; good 0.75–0.90; excellent >0.90; Koo & Li).

In the revised manuscript, the primary Caliber Uniformity endpoint is the Standardized Caliber Uniformity Score based on NV Diameter CV and Dilated vessel % (weights 0.75 / 0.25; stratum-specific min/median/max piecewise maps). An initial PCA-based Caliber Uniformity Score from the original submission showed suboptimal inter-observer concordance and was replaced by this standardized definition (Methods); the primary reported Caliber ICC is therefore 0.770, not the legacy PCA-based Caliber ICC.

Primary results (3-rater ICC(2,1), n = 46):

| Metric | ICC(2,1) | 95% CI |
| --- | --- | --- |
| MNV Area (mm²) | 0.859 | 0.680–0.930 |
| Standardized Vascular Complexity Score | 0.807 | 0.660–0.890 |
| Standardized Caliber Uniformity Score | 0.770 | 0.660–0.860 |
| Maturity Index (from Caliber) | 0.593 | 0.430–0.730 |

Lesion area, Complexity Score, and the Standardized Caliber Uniformity Score showed good inter-observer agreement on conventional ICC benchmarks; Maturity Index derived from that Caliber score was moderate (ICC(2,1) 0.593).

As prompted by the Reviewer, we examined metric-specific reproducibility more closely. The primary Standardized Caliber Uniformity Score showed good inter-observer agreement (ICC(2,1) 0.770). Multi-device ICC spanning all three platforms was not available for this revision (all 46 images were 3×3 mm).

Intra-observer results (YY Session 1 vs Session 2, n = 46). We additionally completed same-operator test–retest: the original analyst (YY) repeated freehand ROI delineation on the same n = 46 lesions in a separate sitting, with automated processing unchanged. For Caliber Uniformity and Maturity Index in this intra comparison, we report the same Standardized Caliber Uniformity Score applied to both sessions—the primary inter-observer Caliber endpoint—alongside Area and Complexity Score (unchanged definitions).

| Metric | ICC(2,1) | 95% CI |
| --- | --- | --- |
| MNV Area (mm²) | 0.979 | 0.962–0.988 |
| Standardized Vascular Complexity Score | 0.950 | 0.913–0.973 |
| Standardized Caliber Uniformity Score | 0.925 | 0.871–0.959 |
| Maturity Index (from Caliber) | 0.917 | 0.857–0.954 |

Within-rater agreement was excellent for Area, Complexity Score, Caliber Uniformity, and Maturity Index (all ICC(2,1) ≥ 0.917). These intra-observer estimates support within-operator reproducibility under a fixed score definition; they supplement, and do not replace, the three-observer inter-observer ICCs as the primary multi-rater reproducibility claim.

Table 1 update. Table 1 now uses columns Variable | Description | Inter-rater ICC(2,1) | Intra-rater ICC(2,1) (n = 46 for ICC rows), including Maturity Index (inter 0.593; intra 0.917). Both inter- and intra-observer continuous metrics use the same Shrout & Fleiss ICC(2,1) absolute-agreement model. Morphological subtype cells report quadratic weighted κ (expert–auto in the inter column; YY Session1–Session2 in the intra column) with a table footnote that these are κ, not ICC. Process rows remain —. Loop Count and Euler Number ICCs use totals (center + periphery). Table 1 remains the concise inventory pointer for the primary endpoints, including the Standardized Caliber Uniformity Score (inter ICC 0.770).

### Comment 5 — Non-significant Kruskal–Wallis does not establish equivalence

Non-significant Kruskal–Wallis p-values do not establish equivalence. A formal equivalence testing framework (e.g., TOST with pre-specified margins) or at minimum effect sizes with confidence intervals should replace the current “non-significant therefore comparable” interpretation.

Response:
We agree. Absence of a statistically significant Kruskal–Wallis test does not demonstrate equivalence. We now report Kruskal–Wallis H, p, and ε² with bootstrap 95% CIs (10 000 within-stratum resamples) for the Standardized Caliber Uniformity Score used as the primary Caliber endpoint (NV Diameter CV + Dilated vessel %; Maturity Index recomputed from that Caliber score; Complexity Score unchanged), on the primary analysis set (n = 112: large = 49, small = 33 Optovue Solix, small_3mm = 30). Methods and Supplementary Table S1 also note that the Optovue Solix Complexity percentile reference cohort included 34 lesions, whereas this primary analysis batch includes 33 in that stratum.

| Metric | H | p | ε² | 95% CI | Medians (L / S / S3) |
| --- | --- | --- | --- | --- | --- |
| Standardized Vascular Complexity Score | 1.712 | 0.425 | 0.0000 | 0.0000–0.0887 | 48.7 / 50.7 / 47.8 |
| Caliber Uniformity Score | 1.118 | 0.572 | 0.0000 | 0.0000–0.082 | 46.6 / 55.5 / 50.6 |
| Maturity Index | 1.082 | 0.582 | 0.0000 | 0.0000–0.077 | 49.5 / 53.9 / 51.0 |

Interpretation: Under the Standardized Caliber Uniformity Score, none of the three standardized scores differed significantly across strata (all p ≥ 0.425; ε² ≈ 0, negligible). This does not establish biological equivalence across devices: median-anchored piecewise mapping and locked reference cuts can attenuate stratum-mean contrasts by construction. The original “all Kruskal–Wallis non-significant → scores comparable across devices” framing has been withdrawn.

Changes made: - Removed “statistically indistinguishable / therefore comparable” and “all KW non-significant therefore equivalent” language. - Table 3 now reports H, p, ε², and bootstrap 95% CIs under the Standardized Caliber Uniformity Score definition. - Explicitly state that non-significant KW under the primary score still does not establish equivalence. - Formal TOST was considered; because clinically meaningful equivalence margins for these novel 0–100 scores were not pre-specified at study design, we prioritized effect sizes with CIs and cautious interpretation rather than post-hoc TOST with provisional margins. This rationale is stated in Methods/Limitations.

### Comment 6 — No baseline clinical characteristics for device groups

No baseline clinical characteristics are provided for the three device groups. Given the marked differences in subtype distribution across platforms (Seafan only in the 3×3mm group, Medusa only in PlexElite), cohort composition likely differs. Without controlling for this, apparent score convergence may mask genuine biological heterogeneity.

Response:
We appreciate this important point. The analysis set consists of anonymized, treatment-naïve Type 1 or Type 2 MNV secondary to neovascular AMD. Detailed demographic and clinical covariates (age, sex, laterality, visual acuity, lesion type breakdown beyond Type 1/2, systemic factors) were not retained in the anonymized research archive and therefore cannot be tabulated by device group for this revision.

Changes made: - Methods now state explicitly that all included eyes were treatment-naïve nAMD-related Type 1/2 MNV and that detailed baseline covariates were unavailable because of anonymization. - Discussion/Limitations now acknowledge that between-platform differences in subtype prevalence (Table 4) may reflect sampling/case-mix and FOV-dependent lesion sampling rather than classifier instability alone, and that lack of covariate adjustment limits causal interpretation of cross-device score comparisons. - In conjunction with Comment 1, we no longer interpret score medians near 50 as evidence that biological heterogeneity was removed.

### Comment 7 — Textual inconsistencies

(a) The Abstract uses “Vascular Stability Score” while the Methods defines “Standardized Caliber Uniformity Score” for the same metric; “Vascular Complexity Score” and “Standardized Complexity Score” are likewise used interchangeably—terminology should be unified. (b) Table 5 includes “Pruned tree” and “Large vessels” categories that do not appear in Table 4 or anywhere in the Results; it is unclear whether these are theoretical subtypes with no observed cases or remnants from a different classification version. (c) References 8 and 22 cite the same paper (Tew et al., Clin Experiment Ophthalmol 2020). (d) The third device is called “Optovue Solix” in the text but “Heidelberg Solix” in the Table 2 legend—the correct manufacturer should be confirmed.

Response / Changes made:

(a) Terminology has been unified throughout to: - Standardized Vascular Complexity Score (Complexity Score) - Standardized Caliber Uniformity Score (formerly also called Vascular Stability Score) - Standardized Maturity Index

The Abstract, Introduction, Discussion, Tables 1–5, and figure legends now use these names consistently. Where “stability” appears conceptually, it is explicitly linked to caliber uniformity.

(b) We thank the Reviewer for catching this inconsistency. “Pruned tree” and “Large vessels” are not part of the operational five-subtype scheme used in this study (Dead tree, Tree in bud, Glomerular, Seafan, Medusa). They have been removed from Table 5. Table 5 now maps only the five operational subtypes to morphology-derived interpretive categories. Table 4 and the classification Methods are fully aligned with that five-class scheme.

(c) Duplicate citation of Tew et al. (2020) has been removed; the reference list and in-text citations have been renumbered.

(d) The correct designation is Optovue Solix (Optovue/Visionix). The erroneous “Heidelberg Solix” wording in the original Table 2 legend has been corrected; restored Table 2 column headers and note now read Optovue Solix.

## Summary of additional experiments / analyses performed for this revision

| Item | Status |
| --- | --- |
| Workflow schematic figure (Frangi/LoG → Phansalkar → skeletonization) | Added (Figure 2) |
| Phansalkar vs Otsu methodological justification | Added in Methods |
| Masked expert morphological grading vs automated labels (weighted κ) | Done — agreement assessment (not “validation”); n=54; 57.4%; κ=0.507 (95% CI 0.222–0.714); Glomerular/Seafan merge 75.9%, κ=0.682; confusion matrix in Suppl |
| Inter-observer multi-rater ICC (3 operators, n=46; area + scores) | Done — ICC(2,1): area 0.859; Complexity Score 0.807; Caliber Uniformity 0.770; Maturity 0.593; also listed in Table 1 |
| Effect sizes (+ CIs) for between-stratum standardized scores | Added — under Standardized Caliber Uniformity Score: all three scores NS (ε²≈0); not “all KW NS → equivalent” |
| Morphology-derived (not pathophysiological) framing; clinical utility deferred to future outcome-linked studies; expanded Limitations | Completed |
| Terminology unification; reference deduplication; Optovue correction; Table cleanup | Completed |
| Intra-observer test–retest (YY Session1 vs Session2, n=46); longitudinal clinical anchors; full baseline demographics | Intra done — ICC(2,1): area 0.979; Complexity Score 0.950; Caliber 0.925; Maturity 0.917 under same standardized definition applied to both sessions; also listed in Table 1. Clinical anchors / full demographics not feasible in this anonymized dataset — listed as Limitations |

We hope that these revisions satisfactorily address the Editor’s and Reviewers’ concerns.

Respectfully submitted,
Yasuo Yanagi, on behalf of all co-authors